**--/--/--  
Proposed C384melb**

**SCHEDULE 2 TO CLAUSE 44.05 SPECIAL BUILDING OVERLAY**

Shown on the planning scheme map as **SBO2.**

**MELBOURNE WATER MAIN DRAINS – ELIZABETH STREET, ARDEN, MACAULAY AND MOONEE PONDS CREEK, FISHERMANS BEND AND SOUTHBANK CATCHMENTS**

# 1.0 Flooding management objectives to be achieved

**--/--/--  
Proposed C384melb**

To identify land in areas that may be inundated by the combined effects of the 1% Annual Exceedance Probability (AEP) flood event incorporating an 18.5% increase in rainfall intensity due to climate change by the year 2100.

To protect life, property, public health, assets and the environment from flood hazard.

To minimise the impact of development on flood extent, depth and the flow velocity.

To ensure new development is suitably designed to be compatible with local drainage characteristics and identified flood hazard.

To ensure development simultaneously achieves safe access and egress, good urban design and equitable access.

# 2.0 Statement of risk

**--/--/--  
Proposed C384melb**

Areas across the municipality are susceptible to overland flows when runoff from severe storm events exceeds the capacity of the underground drainage system. Overland flows can be localised or widespread depending on the path or extent of the storm activity. Flooding may have the potential to result in significant risk to:

* Human life and safety
* Property
* Public infrastructure and assets
* Public health through contaminated floodwaters
* The environment
* Economic and social cohesion of communities

To minimise the impact of such events, it is important buildings are sensitively and appropriately designed to minimise flood damage and protect life, property, assets and the environment. The mapping which forms the basis of the Special Building Overlay identifies areas that may be subject to overland flows by the combined effects of the 1% Annual Exceedance Probability (AEP) flood event incorporating an 18.5% increase in rainfall intensity due to climate change by the year 2100. This information is contained in the background documents listed in the Schedule to Clause 72.08 which is the source of mapping for this overlay.

**3.0 Permit requirement**

**--/--/--**

**Proposed**

**C384melb** A permit is not required to construct a building or carry out works for:

* + An elevated boardwalk provided that the boardwalk is constructed above the applicable levels set by the relevant floodplain management authority.
  + Earthworks that do not change the rate of flow or the discharge point of water across a property boundary.
  + A sign on a single support pole, or structure that is at least 50 per cent permeable up to the applicable flood level.
  + Bollards, bus and tram shelters.

See 44.05-2 for relevant provisions.

* 1. **Application requirements**

**--/--/--  
Proposed C384melb**

The following application requirements apply to an application for a permit under Clause 44.05, in addition to those specified in Clause 44.05 and elsewhere in the scheme and must accompany an application, as appropriate, to the satisfaction of the responsible authority:

* + - Existing survey plans taken by or under the direction and supervision of a licensed land surveyor showing natural ground level, the current Flood Level, and the ground and finished floor levels to Australian Height Datum (AHD).
    - Proposed, plans, elevations and section drawings (1:50 or 1:20) showing the proposed ground and finished floor level and the Nominated Flood Protection Level (NFPL) of all new structures on the land.
    - A written Flood Risk and Design Statement that must include but not be limited to:
* A comprehensive description of the proposed plans, elevations and drawings stating the design of the lower levels of the building including entries, shop front design, the current Flood Level, the proposed Finished Floor Level(s) and Nominated Flood Protection Level (NFPL) as nominated by the relevant floodplain management authority, flood proofing and use of flood-resistant materials, flood storage, stairs, ramps and access/egress points and possible refuge spaces within the development (if applicable).
* A written description of proposed actions, flood mitigation strategies or measures required, if any, to the siting and design of the buildings or works, or in association with the use and occupation of all aspects of the proposal in order to reduce the risk to individuals, property, infrastructure and the environment. These actions may include the consideration of adaptation options such as planned retreat, setbacks, accommodation of changes through floor heights, site and land forming and proposed drainage works.

See 44.05-4 for relevant provisions.

* 1. **Decision guidelines**

**--/--/--  
Proposed C384melb**

The following decision guidelines apply to an application for a permit under Clause 44.05, in addition to those specified in Clause 44.05 and elsewhere in the scheme which must be considered, as appropriate, by the responsible authority:

* + - *Guidelines for Development in Flood Affected Areas* (the Department of Environment, Land, Water and Planning, 2019).
    - *Good Design Guide for Buildings in Flood Affected Areas in Fishermans Bend, Arden and Macaulay* (City of Melbourne, Melbourne Water and City of Port Phillip, 2021)
    - Whether the proposal appropriately responds to the identified site specific flood risk to the satisfaction of the relevant floodplain management authority.
    - Whether development achieves good urban design and equitable access.
    - Whether the ground floor design of the building maintains good physical and visual connection between the street and internal ground floor.
    - Whether development activates the street edge and frontage.
    - Whether development and design response manage the flood risk appropriately.
    - Whether the materials and finishes are resilient to damage in flood events.

See 44.05-7 for relevant provisions.